## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-10-27 | n | resident | 23W013342 | famis | GM-F408 | broken fridge handle | M10 | replaced the handle | resident | close
| n | resident | 23W013342 | famis | GM-F408 | clogged sink drain | M10 | reset unclogged disposal | resident | close
| n | staff | 23W013341 | famis | GM-J108 RE | the toilet is sensor is not flushing | M10 | found no issue with the sensor or the flushing-I found the toilet clogged closet augered toilet | staff | close
| n | resident | 23W013367 | famis | GM-D301 | clogged tub | M10 | unclogged drain removed clog | resident | close
| n | staff | 23W013349 | famis | FA-GROUNDS | study room doors locked | M10 | unlocked all doors and pool area | staff | close
| n | resident | 23W012591 | famis | GM-G304 | broken fridge handle | M10 | replaced the handle | resident | close
| n | resident | 23W013371 | famis | FA-04N-BAT | clogged tub | M10 | unclogged drain removed clog | resident | close
| n | staff | n/a | ext-shift | GM-D | exterior lighting is out | M10 | manually turned on the timer | staff | close
| n | m1 | n/a | ext-shift | GM-POOL | pool check | M10 | filled chlorine feeder | staff | close