## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-10-28 | n | resident | 23W013474 | famis | GM-F210 | kitchen sink clogged | M10 | unclogged drainline | door tag | close
| n | resident | 23W013416 | famis | GM-L204 | bathroom light is out | M10 | replaced vanity light | resident | close
| n | resident | 23W013473 | famis | FA-11M-BAT | bathroom door is locked | M10 | released push lock | resident | close
| n | resident | 23W013441 | famis | GM-F609 | toilet is clogged | M10 | replaced toilet handle/closet augered the toilet | resident | close
| n | resident | 23W013439 | famis | GM-A109 | shower runs out of hot water after 5 min | M10 | ran the water in the tub the water temp was constantly at temperature | door tag | close
| n | resident | 23W013438 | famis | GM-A109 | fridge seal is coming off | M10 | repaired seal re-attached | door tag | close
| n | resident | 23W013437 | famis | GM-F602 | kitchen light is out | M10 | replaced cabinet light | resident | close
| n | resident | 23W013440 | famis | GM-L305 | toilet is clogged | M10 | closet augered toilet | resident | close
| n | resident | 23W013468 | famis | GM-E110 | bathtub is clogged | M10 | unclogged drainline | resident | close
| y | staff | 23W013471 | famis | AI0C100 | alarm-AIA0125 | M10 | rso called with a fire alarm-it was a touble alarm dirty alarm | follow-up | open
| n | M1 | n/a | ext-shift | GM-POOL | pool check | M10 | filled chlorine feeder | staff | close
| n | resident | 23W013484 | famis | FK-2A | toilet is clogged | M10 | closet augered toilet | resident | close