## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-10-31 | N | RESIDENT | 23W013658 |  | FK-6C | KITCHEN IS FLOODING WITH WATER | M9 | SNAKED DRAIN RAN CABLE 25FT LOTS OF GREASE IN LINE | RESIDENT | CLOSED
| N | RESIDENT | 23W013688 |  | FK-6C- | DISPOSAL IS LEAKING | M9 | REPLACED DISPOSAL | RESIDENT | CLOSED
| N | STAFF |  | GM RSO | GMA-307 | FIRE ALARM IN ROOM A GOING OFF | M9 | VAPE CAUSE OF ALARM | STAFF
| N | STAFF | 23W013693 | AI RSO | AIA-222 | BOTH TOILETS ARE CLOGGED | M9 | CLEARED BOTH TOILETS CUST CLEANED UP | STAFF | CLOSED
| N | RESIDENT | 23W013654 |  | FK-16B | CLOGGED TUB | M9 | CLEARED TUB DRAIN | DOOR TAG | CLOSED
| N | RESIDENT | 23W013612 |  | GML-426 | TRASH CHUTE DOORS NOT OPENING | M9 | RESET CIRCUIT BREAKER | STAFF | CLOSED
| N | RESIDENT | 23W013674 |  | LOD-312 | CLOGGD TOILET | M9 | CLEARED TOILET | STAFF | CLOSED
| N | STAFF |  | M1 TRENT | OBAN | SECURE UNITS | M9 | SECURED UNITS 5 AND 27 | STAFF
| N | STAFF |  |  | GM-POIOL | DAILY POOL CHECK | M9 | COMPLETED POOL CHECK | STAFF