## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-11-01 | y | resident | 23W013819 | famis | LOB-423 | sink clogged in the womens restroom | M9-M10 | residents were using the facilities on every attempt we made to repair | follow-up | open
| n | resident | 23W013851 | famis | GM-E402 | toilet is clogged | M9-M10 | closet augered toilet | resident | close
| n | resident | 23W013850 | famis | GM-E402 | tub is draining slow | M9-M10 | unclogged drainline | resident | close
| n | resident | 23W013805 | famis | GM-I506 | toilet is clogged | M9-M10 | closet augered toilet | resident | close
| n | resident | 23W013799 | famis | GM-A405 | outlets in the bedroom are not working | M9-M10 | reset breaker | resident | close
| n | resident | 23W013854 | famis | GM-M209 | toilet is clogged | M9-M10 | replaced the toilet flapper | resident | close
| y | resident | 23W013609 | famis | OB-041 | sink and tub are draining slow | M9-M10 | resident requested am | follow-up | open
| n | staff | 23W013554 | famis | CDC1117 | mount board | M9-M10 | mounted board on the wall sepcified | staff | close
| y | resident | 23W013853 | famis | AI-A224 | wall in the bedroom is wet and carpet is damp | M9-M10 | carpet is wet likely from the shower tile being cracked | follow-up | open
| n | M1 | n/a | radio | BBA-306 | removed dehumidifier | M9-M10 | removed and placed in the BBV shop | staff | close
| y | staff | n/a | ext-shift | GMI-526 | trash chute door fell | M9-M10 | the trash chute door is broken and not working | follow-up | open
| y | resident | 23W013852 | famis | GM-L526 TR | trash chute is not opening | M9-M10 | the compressor is out | follow-up | open
| n | rso | n/a | radio | GMF-204 | FIRE ALARM | M9-M10 | upon arrival of the call the panel had already been reset and cleared | staff | close
| y | staff | n/a | ext-shift | LO-EXT | exterior lights by the main entrance of lothian are not on | M9-M10 | manually turned on timers its getting dark earlier | follow-up | open