## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-11-03 | n | resident | 23W013990 | famis | GM-I203 | outside light out | M9-M10 | replaced entry light | staff | close
| n | ext-shift | 23W013989 | famis | PH-G-GROUN | lights are out by the elevator | M9-M10 | replaced the can lights exterior hallway | staff | close
| n | resident | 23W013988 | famis | PH-C326 | clogged toilet | M9-M10 | closet augered toilet | resident | close
| n | resident | 23W013951 | famis | PL-A-07 | leak outside the front door | M9-M10 | leaking hosebib had a pinhole in the copper line-replaced the copper line and hosebib | resident | close
| n | resident | 23W013976 | famis | BB-T303 | no power in half the unit | M9-M10 | reset breaker | resident | close
| n | resident | 23W013980 | famis | PH-C327 | lights are out in the bathroom | M9-M10 | replaced lights | resident | close
| n | resident | 23W013949 | famis | GM-I202 | toilet is not flushing | M9-M10 | replaced the handle | resident | close
| n | resident | 23W013991 | famis | GM-I202 | toilet is not flushing | M9-M10 | replaced the flapper | resident | close
| n | M1 | n/a | ext-shift | GM-POOL | inspect pool | M9-M10 | checked pool | staff | close
| y | central plant | n/a | ext-shift | AI-B222 | leak in the ceiling of the mens room | M9-M10 | two trays catching water in the ceiling were full emptied them and placed back in the ceiling | follow-up | open