## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-11-03 | n | staff | 23W014047 | famis | CDC1117 | toilet is leaking | M9-M10 | replaced vaccum breaker and lower arm gaskets | staff | close
| n | staff | 23W014048 | famis | CDC1117 | faucet vibrates when it used | M9-M10 | replaced stem | staff | close
| n | resident | 23W014114 | famis | FA-10C-A B | clogged toilet | M9-M10 | closet augered toilet | resident | close
| n | resident | 23W014140 | famis | BB-P201 | no power in half the unit | M9-M10 | reset the breaker | resident | close
| n | resident | 23W014104 | famis | GM-F610 | main light in the kitchen is out | M9-M10 | replaced the lights and ballast | resident | close
| n | resident | 23W014126 | famis | BB-K202 | clogged toilet | M9-M10 | closet augered toilet,repaired the chain | resident | close
| n | resident | 23W014101 | famis | PL-D-50 | no power the bedroom outlet | M9-M10 | reset the breaker | resident | close
| n | resident | 23W014135 | famis | GM-L102 | toilet is leaking | M9-M10 | replaced the flapper | resident | close
| n | resident | 23W014118 | famis | GM-G301 | leak under the kitchen sink | M9-M10 | tightened faucet base and supply lines | resident | close
| y | staff | 23W013919 | famis | CDC111 | Emergency Lighting not operational 111,115,105,126,no battery back up on power failure. | M9-M10 | we replaced two hall lights by the staff offices-we need to order and replace all hallway exit sign with lights order | follow-up | open
| y | staff | 23W013927 | famis | CDC1127 | Emergency Lighting not operational in room 127,204, conference room and exterior walkways. | M9-M10 | emergency light fixtures need to be replaced on order | follow-up | open
| n | M1 |  | radio | OB- | secured | M9-M10 | locked up 27-5 | staff | close