## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-11-04 | n | resident | 23W014232 | famis | BB-L308 | light is out | M10 | replaced main bath light | resident | close
| n | resident | 23W014227 | famis | BB-P101 | no bulbs in the living lamps | M10 | installed light bulbs | resident | close
| n | resident | 23W014226 | famis | BB-P101 | no stopper in the sink drain | M10 | placed a removal stopper | resident | close
| n | resident | 23W014241 | famis | BB-U101 | toilet is not flushing | M10 | closet augered toilet | resident | close
| n | resident | 23W014241 | famis | BB-U101 | light is out | M10 | replaced hallway light | resident | close
| n | staff | 23W014224 | famis | CDC123 | dryer is not working | M10 | the gas to the building was shut off the earthquake valve was engaged- reset | staff | close
| n | staff | 23W014225 | famis | CDC123 | no hot water in the building | M10 | relit water heater | staff | close
| n | resident | 23W014247 | famis | GM-B407 | toilet is leaking | M10 | tightened supply lines | resident | close
| n | resident | 23W014216 | famis | GM-L403 | toilet is not flushing | M10 | replaced the toilet handle | resident | close
| n | resident | 23W014249 | famis | GM-I209 | toilet is running | M10 | replaced the flapper | resident | close
| n | resident | 23W014228 | famis | PH-A314 | toilet is clogged | M10 | snaked toilet drain | resident | close
| n | staff | n/a | radio | PH-B232 | fire alarm | M10 | burnt food- | staff | close
| y | staff | n/a | radio | CDC-S | security alarm is not setting to arm | M10 | two zones are reading low battery-set two zones on bypass to set the batteries need to be replaced (19 door to lobby/18 motion sensor lobby) | follow-up | open