## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
11-8-22- | n | resident | 23W014608 | famis | GM-A105 | toilet is clogged | M10 | closet augered toilet | resident | close
| n | staff | 23W014425 | famis | CDC1117 | faucet making noise and vibrating | M10 | repaired the handle | staff | close
| n | staff | 23W014424 | famis | CDC1117 | toilet is leaking | M10 | tightened toilet connections | staff | close
| n | resident | 23W014612 | famis | FA-14B-KIT | no power | M10 | reset the breaker | resident | close
| n | resident | 23W014586 | famis | GM-E202 | toilet is clogged | M10 | closet augered toilet | resident | close
| n | resident | 23W014610 | famis | GM-F406 | no power | M10 | reset the breaker | resident | close
| y | resident | 23W014620 | famis | LO-A330 | leak in the wall/ceiling of the room | M10 | leaking by the wall over the residents bed moved the bed away from the wall | follow-up | open
| y | resident | 23W014607 | famis | LO-B426 | leak in the wall/ceiling of the room | M10 | leaking by the wall over the residents bed moved the bed away from the wall | follow-up | open
| y | resident | 23W014595 | famis | LO-B434 | leak in the wall/ceiling of the room | M10 | leaking by the wall over the residents bed moved the bed away from the wall | follow-up | open
| y | staff | n/a | radio | PHM-300 | leak by the windows of the lounge | M10 | catching water behind the tv windows | follow-up | open
| y | resident | 23W014345 | famis | GM-M304 | microwave handle is broken and the unit is not working | M10 | placed a loaner countertop microwave unit in the kitchen until time permits to replace | follow-up | open
| y | staff | 23W012254 | famis | CDCS127 | there is an odor in the hallway, Checked the dryer to make sure the pilot was on, as well as the stove, could we have the heaters checked | M10 | walked the area found no odors or issues staff requested the ac.heating system be checked | follow-up | open
| y | resident | 23W014604 | famis | AI-A230 | leak outside the elevator | M10 | leak by the windows outside by the hall elevator | follow-up | open
| y | resident | 23W014614 | famis | BB-S206 | leak in the wall/ceiling of the room | M10 | swept standing water from the 3rd floor landing ceiling needs repair | follow-up | open
| y | resident | 23W014616 | famis | OB-111 | entry way flooded by water | M10 | theres no drain by the entrance until water runs off | 2022-11-08 | open
| y | resident | 23W014609 | famis | GM-A402 | ceiling is leaking by the light | M10 | swept roof top drains to drain runoff | follow-up | open