## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-11-09 | n | resident | 23W014752 | famis | FA-16G-A B | clogged toilet | M10 | closet augered toilet drain | resident | close
| n | resident | 23W014727 | famis | FA-16A-B B | bathroom fan is not working | M10 | replaced the fan and housing | resident | close
| n | resident | 23W014727 | famis | FA-16A-B B | no power in the kitchen | M10 | reset the breaker | resident | close
| y | resident | 23W014755 | famis | PL-F-72 | leak in the living room | M10 | previous leak from 11-8-22 residual water | follow-up | open
| n | resident | 23W014759 | famis | BB-I207 | clogged toilet | M10 | closet augered toilet drain | resident | close
| n | resident | 23W014735 | famis | GM-F505 | bedroom light is out | M10 | replaced the light | resident | close
| n | staff | 23W014718 | famis | CDC-1231 | build and place easle | M10 | built the easle and placed in the classroom | staff | close
| n | resident | 23W014565 | famis | GM-M409 | fridge light is out | M10 | replaced the light | resident | close
| n | resident | 23W014565 | famis | GM-M409 | handle is broken | M10 | replaced handle | resident | close
| n | resident | 23W014758 | famis | GM-G308 | entry light is out | M10 | rewired a led light | resident | close
| n | staff | n/a | radio | BBS-213 | fire alarm | M10 | burnt food on the stove | resident | close
| n | staff | 23W014769 | famis | PH-F105 | Ceiling tile collapse over light. Possible electrical damage and soaked carpet | M10 | copper water line had a pinhole leak-patched the leak,the light fixture is holding water and needs to be dry before the light is turned on carpet needs to be dried and ceiling tiles replaced | follow-up | open