## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-11-14 | N | M1 TRENT |  | M1 TRENT | GMB-302 | LIVINGROOM WINDOW FRAME FALLING | M9 | REMOVED EXTERIOR WINDOW TRIM | RESIDENT
| Y | CAMP RSO |  | CAMPUS RSO | OB-65 | LEAK IN KITCHEN CEILING | M9 | LEAK WAS REPAIRED IN UNIT 66/DRYWALL REPAIR NEEDED IN OB-65 | RESIDENT | F/U
| Y | RESIDENT | 23W015121 |  | LOA-ELEVATOR | ELEVATOR NOT WORKING | M9 | ELEVATOR IS OPERATIONAL WILL NOT MOVE IF BOARDED ON FIRST FLOOR | FOLLOW UP | OPEN
| N | M1 TRENT |  | M1 TRENT | OB-2 | SECURE UNIT | M9 | LOCKED UNIT UP | STAFF
| N | RESIDENT | 23W015085 | CAMPUS RSO | OB-66 | KITCHEN SINK LEAKING | M9 | DISHWASHER DRAIN LINE POPPED LOOSE INSTALLED HOSE CLAMP TO SECURE | RESIDENT | CLOSED
| N | RESIDENT | 23W015123 |  | BBK-303 | NO POWER | M9 | RESET CIRCUIT BREAKER | RESIDENT | CLOSED
| N | RESIDENT | 23W015054 |  | FK-17E | AC FILTER NEEDS TO BE REPLACED | M9 | REPLACED AC FILTER | RESIDENT | CLOSED
| N | RESIDENT | 23W014942 |  | LOA-106 | HALL LIGHT COVER FELL | M9 | SECURED FIXTURE L;IGHT COVER | STAFF | CLOSED
| N | RESIDENT | 23W015124 |  | PHN-347 | CLOGGED TOILET | M9 | CLEARED TOILET | RESIDEN T | CLOSED
| N | RESIDENT | 23W015128 |  | GMF-602 | ROOMS C AND D NO POWER | M9 | RESET CIRCUIT BREAKER | RESIDENT | CLOSED
| N | EXT SHT |  |  | GM-POOL | DAILY POOL CHECK | M9 | INSPECTED POOL | STAFF