## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-11-15 | n | resident | 23W015267 | famis | FA-15H | entry light is out | M9-M10 | replaced exterior light | resident | close
| n | resident | 23W015252 | famis | FA-15G-S | entry light is out | M9-M10 | replaced exterior light | resident | close
| n | resident | 23W015260 | famis | GM-D211 | toilet is clogged | M9-M10 | closet augered the toilet | resident | close
| n | resident | 23W015255 | famis | GM-I204 | no power in the bedrooms | M9-M10 | reset the breaker | resident | close
| y | M1 | n/a | ext-ph | LO-EXT | smoke shack door is not closing | M9-M10 | door frame was bent and damaged secured the door | follow-up | open
| y | staff | 23W015069 | famis | CDC105 | water fountain is shooting water when turned on | M9-M10 | need to replace the water fountain and the angle stop need shut down | follow-up | open
| n | resident | 23W015245 | famis | GM-E110 | disposal is jammed | M9-M10 | reset unclogged disposal | resident | close
| n | resident | 23W015073 | famis | GM-B302 | piece of metal falling off the window | M9-M10 | removed damaged piece from the exterior | resident | close
| n | M1 | n/a | ext-ph | FK-7G | slider is not secure | M9-M10 | latch Is locking and pin is secured on the door | resident | close
| n | staff | 23W015269 | famis | LO-G104 | resident locked out of the studyroom | M9-M10 | lubed lock let the resident in | resident | close
| n | staff | n/a | radio | PHI-114 | fire alarm | M9-M10 | resident smoke cause | staff | close
| n | staff | n/a | radio | BBT-307 | lock is not opening with key | M9-M10 | access and staff resolved issue with new core and assigned key | staff | close
| n | ext-shift | 23W015266 | famis | GM-D-GROUN | exterior lights are out | M9-M10 | relamped exterior by elevators | staff | close
| n | M1 | n/a | ext-ph | GM-POOL | inspect pool | M9-M10 | checked pool | staff | close
| y | ext-shift | 23W015268 | famis | FA-07-GROU | exterior lights are out | M9-M10 | light poles between 7E-7H no power | follow-up | open