## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-12-04 | Y | EXT SHT |  |  | PH E/F | ELEVATOR IS NOT RESPONDING TO FIRST FLOOR | M9 | ELEVATOR NOT RESPONDING | FOLLOW UP | FOLLOW UP
| Y | GM RSO | 23W016717 |  | GMB-404 | FIRE ALARM | M9 | TROUBLE ALARM READING STROVE TRIGGER NOT ACTUAL FIRE ALARM | STAFF | OPEN
| Y | RESIDENT |  | STEAM PLANT | BBE-202 | NO HOT WATER | M9 | FLUSHED OUT SYSTEM AND TURNED SHUT OFF VALVE ON TO RESERT PUMP | RESIDENT
| N | RESIDENT | 23W016698 |  | BBV-115 | KITCHEN SINK LEAKING | M9 | REPLACED DISPOSAL | RESIDENT | CLOSED
| N | RESIDENT | 23W016674 |  | BBA-306 | NO HOT WATER | M9 | FLUSHED OUT SYATEM AND TURNED ON RESERT PUMP VALVE ON | RESIDENT | CLOSED
| N | RESIDENT | 23W016690 |  | PHJ-119 | CLOGGED SHOWER | M9 | CLEARED SHOWER DRAIN | RESIDENT | CLOSED
| N | RESIDENT | 23W016705 |  | PHL-126 | FAUCET HANDLE LOOSE | M9 | SECURED HANDLE | RESIDENT | CLOSED
| N | RESIDENT | 23W016719 |  | BBO-303 | CLOGGED TOILET | M9 | CLEARED TOILET | RESIDENT | CLOSED
| N | RESIDENT | 23W016718 |  | BBP-201 | OUTLET IS NOT WORKING | M9 | RESET CIRCUIT BREAKER | RESIDENT | CLOSED
| N | STAFF |  | EXT SHT | GM-POOL | DAILY POOL CHECK | M9 | INSPECTED POOL SYSTEM | STAFF