## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-12-05 | Y | RESIDENT | 23W016761 |  | GMA-105 | MICROWAVE NOT WORKING | M9 | PLACED COUNTERTOP LOANER MICROWAVE /MICROWAVE NEEDS TO BE REPLACED | RESIDENT | OPEN
| N | RESIDENT | 23W016757 |  | GMA-102 | CD TUB IS CLOGGED | M9 | CLEARED TUB DRAIN | RESIDENT | CLOSED
| N | RESIDENT | 23W016808 |  | BBQ-102 | CLOGGED SHOWER | M9 | CLEARED SHOWER DRAIN | RESIDENT | CLOSED
| N | RESIDENT | 23W016708 |  | GME-108 | KITCHEN FAUCET IS LEAKING | M9 | REPLACED KITCHEN FAUCET AND WATER SUPPLY LINES | RESIDENT | CLOSED
| N | RESIDENT | 23W016758 |  | GME-108 | LEFT BOTTOM STOVE BURNER NOT WORKING | M9 | PLUGGED STOVE BURNER | RESIDENT | CLOSED
| N | RESIDENT | 23W016880 | STEAM PLANT | AIE-222 | FLOOR DRAIN IN MENS RESTROOM IS BACKING UP | M9 | SNAKED FLOOR DRAIN TO CLEAR | STAFF | CLOSED
| N | RESIDENT | 23W016888 |  | BBT-104 | OUTLET NOT WORKING | M9 | OUTLET IS POWERED BY SWITCH | RESIDENT | CLOSED
| N | RESIDENT | 23W016886 |  | BBT-104 | NO HOT WATER IN KITCHEN FAUCET | M9 | RAN FAUCET HOT WATER | RESIDENT | CLOSED