## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2023-01-03 | N | STAFF | 23W018385 |  | CDC-127 | PLAYGROUND FOUNTAIN LEAKS BVUT WOULD LIKE TO SHUT OFF | M9 | REPAIRED LEAK AND SHUT WATER OFF | STAFF | CLOSED
| N | STAFF | 23W018430 |  | CDC-122 | TOILET LEAKING IN FRONT OFFICE BATHROOM | M9 | REPLASCED VACUMM BREAKER AND GASKET | STAFF | CLOSED
| Y | TRENT | 23W018429 |  | AI DINNING | LEAK INSIDE KITCHEN | M9 | HOT WATER LINE LEAKING OUT HOSE BIBB TIGHTEN UP BUT STEAQM IS STILL COMING OUT BACK | FOLLOW UP | OPEN
| Y | TRENT | 23W018412 |  | PHH-112 | MENS RESTROOM CEILING LEAKING | M9 | OPENED UP HATCH EMPTIED BUCKET CATCHING WATER FROM CHILLED WATER VALVE THAT’S LEAKING | FOLLOW UP | OPEN
| N | STAFF |  |  | GMD | EXTERIOR LIGHTING NOT COMING ON | M9 | PROGRAMMED TIMER FOR LIGHTS | STAFF