## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2023-01-07 | y | resident | 23W018811 | famis | FA-05M | resident locked out no keys for their room | M10 | staff keys are the only way the resident can get in their room no keys in the box | follow-up | open
| n | resident | 23W018804 | famis | GM-B206 | leaking shower | M10 | replaced showerhead | resident | close
| n | resident | 23W018803 | famis | GM-B207 | sounds in the ceiling when the water is ran upstairs | M10 | upstairs the water is knocking | resident | close
| n | resident | 23W018808 | famis | GM-G203 | toilet is clogged | M10 | augered toilet,replaced flapper | resident | close
| n | resident | 23W018777 | famis | GM-I103 | fridge is leaking | M10 | unclogged drain | resident | close
| n | staff | n/a | radio | LOG-102 | rd locked out of their unit | M10 | used door tool to acces their apartment | resident | close
| n | resident | 23W018814 | famis | GM-B101 | toilet is leaking | M10 | tigthened toilet to tank bolts | resident | close
| n | staff | n/a | radio | GMB-203 | resident s keys do not work | M10 | let the resident into their unit | resident | close
| n | staff | n/a | radio | GMD-401 | resident s keys do not work | M10 | let the resident into their unit | resident | close
| y | M1 | n/a | radio | BBV | exterior leak | M10 | checked leak is contained | follow-up | open
| y | M1 | n/a | radio | BBB | exterior leak | M10 | checked leak is contained | follow-up | open
| y | staff | 23W018815 | ext-shift | GM-A100-TR | exterior lighting poles are not turning on | M10 | poles on the acces road by A building and B building are tripping the breaker in the electrical room of GMA first floor trash room | follow-up | open