## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2023-01-11 | n | resident | 23W019362 | famis | PH-B228 | clogged toilet | M9-M10 | closet augered toilet | resident | close
| n | resident | 23W019348 | famis | GM-M308 | clogged toilet | M9-M10 | closet augered toilet | resident | close
| n | resident | 23W019363 | famis | GM-F504 | clogged shower | M9-M10 | cleared drainline | resident | close
| y | staff | 23W019309 | famis | CDC127 | There is a leak in room 127 by the sink and dishwasher. The dishwasher is not being used at this time nor has it been used is several months. Every morning there is a collection of water in that area. | M9-M10 | checked the area and sink found no water or leaks | follow-up | open
| n | staff | 23W019278 | famis | GM-K POOL | turn on fire pit | M9-M10 | lit fire pit and gas | staff | close
| n | M1 | n/a | radio | AVC-2203A | replaced lights | M9-M10 | replaced lights and ballast in the office | staff | close
| y | staff | 23W019368 | famis | PH-B104 | water leaking from the bottomof the door | M9-M10 | room small leak at the equipment | follow-up | open
| n | M1 | n/a | radio | OB- | lock up | M9-M10 | secured 19-27-80 | staff | close