## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2023-01-12 | n | resident | 23W019498 | famis | GM-M309 | sink is clogged | M9-M10 | unclogged ptrap and pop-up | resident | close
| n | resident | 23W019484 | famis | FA-09F-B B | sink is clogged | M9-M10 | unclogged ptrap and pop-up | resident | close
| n | resident | 23W019535 | famis | FA-16B-B B | toilet is clogged | M9-M10 | closet augered toilet | resident | close
| n | resident | 23W019481 | famis | GM-G203 | toilet is not flushing | M9-M10 | replaced the handle | resident | close
| n | staff | 23W019530 | famis | GM-K POOL | turn on fire pit 5pm | M9-M10 | lit pit at the time requested | staff | close
| n | resident | 23W019525 | famis | BB-S112 | leak under the sink | M9-M10 | found no leaks on the kitchen or the bathroom | resident | close
| n | resident | 23W019524 | famis | BB-S112 | outlets in the bedroom are not working | M9-M10 | all outlets are working reset breaker | resident | close
| n | staff | 23W019521 | famis | LO-E112 | bathrooms are clogged and flooded | M9-M10 | plumbers snaked mainline-housekeeping cleaned and sanitized the bathrooms | staff | close
| n | resident | 23W019479 | famis | BB-A306 | disposal is not working | M9-M10 | reset and unclogged | resident | close
| n | resident | 23W019475 | famis | BB-A306 | hot water is not working | M9-M10 | water is working just need to be ran longer | resident | close
| y | staff | 23W019546 | famis | GM-K POOL | timer for the fire pit is missing the knob | M9-M10 | the timer needs to be replaced the knob is missing and its stripped | follow-up | open
| y | resident | 23W019549 | famis | PH-F230 | lounge door is not unlocking | M9-M10 | lubed lock the key is sticking with the residents keys | follow-up | open
| y | resident | 23W019558 | famis | GM-L510 | room B key is not working | M9-M10 | lubed lock the key is sticking with the residents keys | follow-up | open
| y | resident | 23W019553 | famis | BB-A314 | refrigerator outlet is not working | M9-M10 | reset breaker ,issue had been reocurring | follow-up | open