## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2023-01-13 | n | resident | 23W019651 | famis | BB-L303 | toilet is clogged | M10 | replaced the fill valve,augered toilet | resident | close
| n | resident | 23W019668 | famis | GM-E104 | front burners on the stove are not working | M10 | installed the burners correctly | resident | close
| n | resident | 23W019679 | famis | GM-M304 | sink is clogged | M10 | unclogged drainline | resident | close
| n | resident | 23W019666 | famis | GM-D304 | toilet is not working ab | M10 | closet augered toilet | resident | close
| n | resident | 23W019663 | famis | GM-G402 | toilet is clogged | M10 | closet augered toilet | resident | close
| n | resident | 23W019665 | famis | GM-D304 | toilet is not flushing cd | M10 | replaced broken toilet handle | resident | close
| n | resident | 23W019688 | famis | PH-O116 | light fell out of the ceiling | M10 | installed recessed light | resident | close
| y | resident | 23W019674 | famis | FA-04P-KIT | piece of the balcony is falling | M10 | removed the railing left in the balcony landing | follow-up | open
| n | resident | 23W019691 | famis | AI-E117 | water is very cold | M10 | ran the hot water in the bathrooms and the other halls hot water is working | resident | close
| y | resident | 23W019693 | famis | OB-29 | sink is clogged | M10 | couldn’t check the sink the resident was home gave no access return in am | follow-up | open