## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2023-01-15 | N | RESIDENT | 23W019736 |  | AIB-233 | CLOGGED TOILET | M9 | CLEARED TOILET | STAFF | CLOSED
| N | RESIDENT | 23W019725 |  | AIB-338 | TOILET KEEPS FLUSHING | M9 | REPLACED DIAPHRAGM ON SLOAN | STAFF | CLOSED
| N | RESIDENT | 23W019731 |  | AIE-222 | TOILET KEEPS FLUSHING | M9 | REPLACED VACUUM BREAKER AND DIAPHRAGM ON SLOAN | STAFF | CLOSED
| Y | STAFF |  |  | AI-BASEMENT | WATER LEAK IN BASEMENT | M9 | 1 1/2IN PROPRESS 90 LEAKING HOT WATER BETWEEN D AND B WING ON CAGE SIDE PLACED BUCKET TO CATCH WATER | FOLLOW UP
| N | RESIDENT | 23W019683 |  | BBL-201 | BATHROOM SINK CLOGGED | M9 | CLEARED SINK DRAIN | RESIDENT | CLOSED
| N | RESIDENT | 23W019735 |  | BBS-102 | KITCHEN SINK NOT DRAINING | M9 | CLEARED DRAIN AND RESET DISPOSAL | RESIDFENT | CLOSED
| Y | RESIDENT | 23W019743 |  | BBI-202 | CELEING IN LIVING ROOM LEAKING WATER | M9 | UPSTAIRS LANDING NEEDS REPAIR CRACKS ARE LETTING WATER LEAK TO SECONG FLOOR PLACED BUCKETS TO CATCH WATER | DOOR TAG | OPEN
| N | RESIDENT | 23W019733 |  | GMD-306 | KITCHEN SINK NOT DRAINING | M9 | CLEARED DRAIN AND RESET DISPOSAL | RESIDENT | CLOSED
| N | RESIDENT | 23W019690 |  | GMD-208 | DISPOSAL NOT WORKING | M9 | RESET DISPOSAL | RESIDENT | CLOSED
| N | RESIDENT | 23W019729 |  | LOF-316 | CLOGGED TOILET | M9 | CLEARED TOILET | STAFF | CLOSED
| N | RESIDENT | 23W019741 |  | PHA-216 | TOILET KEEPS FLUSHING | M9 | REPLACED VACUUM BREAKER AND DIAPHRAGM ON SLOAN | STAFF | CLOSED
| N | RESIDENT | 23W019742 |  | FK-16C | NO POWER IN HALF OF APARTMENT | M9 | REPLACED 20AMP BREAKER AND RESTORED POWER | RESIDENT | CLOSED
| N | ARD |  |  | OB-111 | FLOODING IN FRONT OF UNIT | M9 | PUMP IS STILL PUMPING WATER SWEPTED AWAY LOTS OF WATER ON WALK WAY | STAFF