## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2023-01-17 | N | M1 TRENT |  | M1 TRENT | GMB-302 | BROKEN WINDOW | M9 | ESCORTED HOUR GLASS TO MEASURE WINDOW | RESIDENT
| N | M1 TRENT |  | M1 TRENT | OB-80 | LOCK UP UNIT | M9 | SECURED UNIT | STAFF
| Y | LO RSO |  | LO RSO | LOB-4 | TROUBLE ALARM | M9 | TROUBLE ALARM MISSING SMOKE | STAFF
| N | RESIDENT | 23W020005 |  | GMF-502 | TOILET HANDLE BROKE | M9 | REPLACED TOIKLET HANDLE | RESIDENT | CLOSED
| N | RESIDENT | 23W019996 |  | GMA-205 | CLOGGED TOILET | M9 | CLEARED TOILET | RESIDENT | CLOSED
| N | STEAM PLANT |  |  | BBG-105 | OPEN CLASSROOM UP | M9 | OPENED ROOM UP | STAFF
| N |  |  | BBV RSO | BBE-202 | NO HOT WATER | M9 | RAN HOT WATER FOR FEW MINUTES TILL WATER TURNED HOT | RESIDENT
| N |  |  | AI RSO | AI A/B | PILFER GUARD GOING OFF | M9 | RESET ALARM | STAFF
| N |  |  | CAMPUS RSO | OB-103 | LOCKED BATHRROM | M9 | UNLOCKED BATHROOM | DOOR TAG
| N |  |  | CAMPUS RSO | BBT-104 | CLOGGED TOILET | M9 | CLEARED TOILET | RESIDENT
| N | RESIDENT | 23W020022 |  | GME-310 | TOILET HANDLE BROKE | M9 | REPLACED TOILET HANDLE | RESIDENT | CLOSED
| N | RESIDENT | 23W020018 |  | GMF-406 | CLOGGED TOILET | M9 | CLEARED TOILET | RESIDENT | CLOSED