## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2023-01-08 | y | resident | 23W019960 | famis | GM-F605 | leak at the kitchen faucet | M9-M10 | resident asked to return AM resident was cooking | follow-up | open
| n | resident | 23W019940 | famis | GM-M505 | light out is the kitchen | M9-M10 | replaced under the cabinet light | resident | close
| n | resident | 23W019767 | famis | GM-I308 | toilet is running | M9-M10 | replaced flapper | resident | close
| n | resident | 23W020121 | famis | BB-H206 | freezer is no working | M9-M10 | freezer was overloaded | resident | close
| n | resident | 23W019975 | famis | GM-G405 | disposal is not working | M9-M10 | reset and removed debris from the sink | resident | close
| n | resident | 23W019812 | famis | BB-G203 | freezer is no working | M9-M10 | removed ice buildup in the freezer | resident | close
| y | resident | 23W019980 | famis | GM-F405 | window is not opening | M9-M10 | resident asked to return Am for the bedroom window | follow-up | open
| n | resident | 23W020109 | famis | GM-I410 | hallway light is out | M9-M10 | replaced hallway light | resident | close
| n | resident | 23W019727 | famis | GM-I410 | kitchen light is out | M9-M10 | replaced kitchen light | resident | close
| n | resident | 23W019713 | famis | GM-I301 | bedroom light is out | M9-M10 | replaced the overhead light | resident | close
| n | resident | 23W019686 | famis | GM-I302 | cd shower is not getting hot water | M9-M10 | adjusted temperature stop | resident | close
| n | resident | 23W020200 | famis | BB-I207 | no power | M9-M10 | reset breaker | resident | close
| n | resident | 23W020198 | famis | GMF-203 | clogged toilet | M9-M10 | checked both toilets were flushing correctly | resident | close