## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | open/close
2023-01-19 | n | resident | 23W020333 | famis | GM-M103 | clogged sink | M10 | unclogged drainline | resident | close
| n | resident | 23W020333 | famis | GM-M103 | clogged shower | M10 | unclogged drainline | resident | close
| n | resident | 23W020357 | famis | GM-L226 TR | trash chute is not working | M10 | reset compressor | resident | close
| n | resident | 23W019358 | famis | GM-G209 | broken fridge handle | M10 | replaced the handle | resident | close
| n | resident | 23W019358 | famis | GM-G209 | ab toilet is running | M10 | adjusted fill valve was overfilling | resident | close
| y | staff | 23W020360 | famis | GM-M509 | toilet lever broken | M10 | resident was in the bath | follow-up | open
| n | staff | 23W020355 | famis | BB-Q100 | fire alarm/trbl | M10 | trouble alarm at the boiler room-no smoke | follow-up | open
| n | staff | 23W020354 | famis | PL-G001-RE | fire alarm/trbl | M10 | trouble alarm | follow-up | open
| n | staff | 23W020353 | famis | OBAN BUILD | fire alarm/trbl | M10 | trouble alarm | follow-up | open
| n | M1 | n/a | radio | GM-POOL | inspect pool | M10 | refilled chlorine feeder | staff | close