## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2023-01-21 | n | resident | 23W020519 | famis | AI-D248 | leaking tstat | M10 | repaired airline connection | resident | close
| n | resident | 23W020494 | famis | GM-F410 | leak by ac vent | M10 | tightened water line connection in the ac closet | resident | close
| n | resident | 23W020498 | famis | AI-E100 | rd apt power out | M10 | reset the breaker | resident | close
| y | staff | n/a | staff | AI-A3W | leak on a hot water line in the roof penthouse | M10 | drained bucket throughout the night | follow-up | open
| n | staff | n/a | staff | OBAN-POOL | pool fill | M10 | turned off ose after the pool was at the water level | staff | close
| n | staff | n/a | staff | CDC-S | soap dispenser swap in the building | M10 | continued soap dispenser replacecement | staff | close
| n | staff | n/a | staff | GM-POOL | inspect pool | M10 | refilled chlorine feeder twice | staff | close