## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2023-01-24 | n | rso | 23W020840 | famis | BB-S110 | fire alarm | M9-M10 | not a fire alarm it was trouble alarm | staff | close
| n | M1 | 23W020893 | famis | GM-M128 TR | building light walk | M9-M10 | walked hallways and corridors replacing lights as needed | staff | close
| y | radio | 23W020894 | famis | GM-K POOL | turn on firepit | M9-M10 | timer is damaged needs to be replaced | follow-up | open
| y | resident | 23W020815 | famis | GM-I302 | hot water is not working in the shower | M9-M10 | the valve shutoffs are damaged we need a shutdown to replace the stem | follow-up | open
| n | staff | 23W020586 | famis | CDC127 | dishwasher is leaking again | M9-M10 | ran the dishwasher and drains again found no leaks | staff | close
| y | resident | 23W020856 | famis | LO-A304 | toilet clogged | M9-M10 | augered toilets to clear issue is reoccuring second time in a week | follow-up | open
| n | resident | 23W020886 | famis | PH-D333 | key is not working for the resident | M9-M10 | key was working the resident in question states it happens often | resident | close
| n | staff | n/a | radio | GM-POOL | check pool | M9-M10 | filled chlorine feeder | staff | close