## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2023-01-25 | y | resident | 23W020962 | famis | LO-E116 | clogged toilet | M9-M10 | toilets were flushing-this back up has been reocurring | follow-up | open
| n | resident | 23W020961 | famis | LO-E112 | clogged toilet | M9-M10 | augered toilet clear | resident | close
| y | resident | 23W020955 | famis | LO-B123 | clogged toilet | M9-M10 | residents were using the facilities when attempted to resolve this is the womens restroom | follow-up | open
| n | resident | 23W020999 | famis | PH-H105 | the water fountain is leaking | M9-M10 | unjammed the push bar | resident | close
| n | resident | 23W020986 | famis | GM-L426 TR | the trash chute is not working | M9-M10 | reset the compressor | resident | close
| n | resident | 23W020989 | famis | OB-087 | disposal is clogged | M9-M10 | unclogged drainline removed food and debris reset | resident | close
| n | resident | 23W020954 | famis | LO-A123 | clogged sink | M9-M10 | unclogged sink | resident | close
| n | staff | 23W020958 | famis | GM-J119-A | sink is draining slow | M9-M10 | cleared drain PM maintenance | staff | close
| n | staff | 23W020957 | famis | GM-J119-A | toilet is leaking | M9-M10 | replaced the vaccuum breaker | staff | close
| n | staff | 23W019918 | famis | GM-J206 OF | hang holder on the wall marked | M9-M10 | secured and hung completed | staff | close
| n | staff | 23W020998 | famis | PL-D-43 | fire alarm | M9-M10 | burnt food was the cause-relayed to M-CWA | resident | close
| y | resident | 23W016761 | famis | GM-A105 | microwave is not working | M9-M10 | resident requested am service-also none in the GMM where the units are stored | follow-up | open