## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2023-01-28 | n | resident | 23W021279 | famis | GM-L108 | toilet is not flushing | M10 | replaced flapper and fill valve,closet augered the toilet | resdent | close
| n | resident | 23W021278 | famis | GM-A401 | one of the stove burners is not turning off | M10 | replaced burner control | resdent | close
| n | resident | 23W021276 | famis | GM-L202 | shower is not getting hot | M10 | replaced tub spindle | resdent | close
| n | resident | 23W021267 | famis | GM-L202 | faucet has no pressure | M10 | replaced aerator | resdent | close
| n | resident | 23W021265 | famis | PH-O118 | sink is not draining | M10 | cleared drainline | resdent | close
| n | resident | 23W021264 | famis | PH-O117 | toilet is not flushing | M10 | closet augered toilet | resdent | close
| n | M1 | n/a | radio | GME- | inspect boiler | M10 | water stayed at 130 temp throughout | staff | close
| n | M1 | n/a | radio | BBV | chillers operation | M10 | chillers stayed operating normal | staff | close