## Sheet1
extended shift report
Date | follow up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2023-01-31 | n | resident | 23W021624 | famis | OB-7 | no presssure in the home | M9-M10 | water was restored pressure is working and hot water | resident | close
| n | resident | 23W021638 | famis | PL-E-61 | clogged kitchen sink | M9-M10 | snaked mainline in the kitchen extracted overflowing water | resident | close
| n | resident | 23W021554 | famis | GM-G409 | toielt is making a strange noise | M9-M10 | replaced the flapper and fill valve | resident | close
| n | resident | 23W021632 | famis | AI-E149 | no power in half the room | M9-M10 | reset the breaker | resident | close
| n | staff | 23W021376 | famis | CDCN1112 | leaking faucet | M9-M10 | tightened handles | staff | close
| y | resident | 23W021563 | famis | GM-L510 | shower is clogged cd side | M9-M10 | resident was using the shower and the bathroom when we attempted to repair | follow-up | open
| y | staff | 23W021367 | famis | CDCS104 | water is cloudy | M9-M10 | flushed aerators but issue was reported onsite by the cleaning staff the toilets are getting hot water when flushed water is white and cloudy | follow-up | open
| n | resident | 23W021422 | famis | GM-M407 | no hot water | M9-M10 | water is working to the building | resident | close
| n | resident | 23W020709 | famis | GM-M407 | water in the shower is not getting hot | M9-M10 | the resident was using the shower improperly there is hot water at the shower and the entire unit | resident | close
| y | staff | n/a | radio | CDCN1204 | the room is cold-and the breakroom | M9-M10 | custodial staff reported the rooms are very cold | follow-up | open
| n | resident | 23W021636 | famis | GMA-302 | fire alarm | M9-M10 | fire alarm was not resetting cause was burnt foor M-CWE came in to reset the panel | staff | close
| y | resident | 23W021640 | famis | AI-A142 | no power in half the room | M9-M10 | the breaker tripped in the panel was not resetting-breaker not staying on | follow-up | open