## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2023-02-18 | n | resident | 23W023488 | famis | GM-B305 | living room light is out | M10 | replaced lights in the living room lamp | resident | close
| n | resident | 23W023487 | famis | GM-B305 | kitchen faucet spraying water | M10 | replaced kitchen faucet | resident | close
| n | resident | 23W023515 | famis | FK-13B | clogged toilet | M10 | closet augered toilet drain | resident | close
| n | resident | 23W023505 | famis | FA-09H-A B | clogged toilet | M10 | closet augered toilet drain | resident | close
| n | resident | 23W023512 | famis | GM-F612 | toilet is not flushing | M10 | replaced flapper chain | resident | close
| y | resident | 23W023511 | famis | GM-M304 | broken toilet handle | M10 | resident was taking a shower could not complete | follow-up | open
| n | resident | 23W023514 | famis | FA-09C | no power in unit A | M10 | reset breaker | resident | close
| n | resident | 23W023503 | famis | BB-V310 | bathroom sink is clogged | M10 | unclogged ptrap drain | resident | close
| y | resident | 23W023506 | famis | GM-F112 LA | leaking washer in the laundry room | M10 | 192 washer left offline until repair | follow-up | open
| n | M1 | n/a | ext-phone | CDC-N | soap dispenser replacement | M10 | replaced the remaining dispensers exterior playground | staff | close
| n | M1 | n/a | ext-phone | OB-FK | lock up | M10 | secured garage 27,OB81,OB109 | staff | close
| n | M1 | n/a | ext-phone | GM-POOL | inspect pool | M10 | checked pool reading high ORP | staff | close