## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2023-02-19 | N | RESIDENT | 23W023518 |  | GME-410 | NOISE COMING FROM HALL | M9 | COULD NOT LOCATE ANY NOISE OR BUZZING SOUNDS | RESIDENT | CLOSED
| N | RESIDENT | 23W023519 |  | PHE-114 | FIRE EXTINGUSHER BOX OPEN | M9 | SECURED DOOR TO BOX | STAFF | CLOSED
| N | RESIDENT | 23W023506 |  | GMF-112 | WASHING MACHINE LEAKING WATER | M9 | COULD NOT LOCATE MACHINE LEAKING WATER FLOORS WERE DRY | SATFF | CLOSED
| N | STAFF |  |  | GM-POOL | TOILET KEEPS FLUSHING | M9 | REPLACED SELENOID FOR AUTOMATIC FLUSH | STAFF
| N | STAFF |  |  | GM-POOL | FIRE PIT NOT COMING ON | M9 | TURNED FIRE PIT ON RE INSTALLED COVER | RESIDENT
| N | STAFF |  |  | GM-POOL | POOL CHECK | M9 | CHECKED POOL | STAFF