## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2023-02-22 | y | resident | 23W023799 | famis | OB-048 | dishwasher is not working | M9-M10 | resident AM service | follow-up | open
| n | resident | 23W023798 | famis | GM-G108 | ab rooms have no power | M9-M10 | breaker reset | resident | close
| y | resident | 23W023802 | famis | GM-G401 | ab toilet is clogged | M9-M10 | resident using the bath at the time | follow-up | open
| n | resident | 23W023801 | famis | PH-K345 | shower is clogged | M9-M10 | removed hair stuck in the drain | resident | close
| y | staff | 23W023742 | famis | CDC129 | detector beeping in the hallway | M9-M10 | the co2 detector is the hall furnace closet needs replacing replacing battery did not work | follow-up | open
| n | resident | 23W023787 | famis | OB-097 | ktichen sink is leaking | M9-M10 | repaired ptrap and two part waste assembly | resident | close
| y | resident | 23W023739 | famis | FA-03A-KIT | disposal is not working | M9-M10 | resident was not home-had a dog in the unit | follow-up | open
| n | resident | 23W023736 | famis | FA-10D-KIT | power is out in half of the unit | M9-M10 | reset breaker | resident | close
| n | resident | 23W023757 | famis | FA-05H-BAT | sink is clogged | M9-M10 | unclogged sink drain | resident | close
| n | resident | 23W023776 | famis | PH-N117 | toilet is clogged | M9-M10 | closet augered toilet to clear | resident | close
| n | resident | 23W023812 | famis | PH-N118 | toilet is clogged | M9-M10 | closet augered toilet to clear | resident | close
| n | rso | N/A | radio | GM-M304 | FIRE ALARM | M9-M10 | alarm stated 3rd floor corridor-smoke came from burnt food in -304 | staff | close