## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2023-02-24 | y | resident | 23W024110 | famis | FA-19B-KIT | leak by the patio slider | M10 | leak is from the roof into the top corner of the slider | follow-up | open
| y | resident | 23W024099 | famis | BB-S205 | leak in bedroom ceiling | M10 | water seeping in from the 3rd floor landing swept water and unclogged gutter | follow-up | open
| n | resident | 23W024048 | famis | GM-D403 | bathroom light is out | M10 | replaced ceiling light | resident | close
| n | resident | 23W024048 | famis | GM-D403 | sink light is out | M10 | replaced vanity lights | resident | close
| n | resident | 23W023976 | famis | GM-A206 | clogged shower | M10 | removed hair buildup unclogged the shower | resident | close
| n | resident | 23W023977 | famis | GM-A206 | living room light is out | M10 | replaced living lamp bulbs | resident | close
| n | resident | 23W023976 | famis | GM-A206 | sink is clogged | M10 | unclogged pop up drain | resident | close
| n | resident | 23W024102 | famis | AI-E308 | no power in the outlets | M10 | reset the breaker | resident | close
| n | staff | 23W024109 | famis | AVC-ELEV | the elevator is not working | M10 | elevator company repaired the elevator and ensured operation | staff | close
| n | M1 | n/a | phone | BB-Q | secured units- | M10 | secured 205-208 | staff | close
| n | resident | 23W024104 | famis | BB-A313 | no power in the outlets | M10 | reset the breaker | resident | close
| n | staff | n/a | onsite | BB-A201 | water buildup the second floor landing | M10 | pushed off flooded area to drain | staff | close