## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2023-02-28 | n | resident | 23W024476 | famis | BBS-212 | clogged toilet | M9-M10 | closet augered toilet unclogged | resident | close
| n | resident | 23W024480 | famis | FA-16A-KIT | outlet in the livgint room is not working | M9-M10 | half hot switch to the outlet insructed resident | resident | close
| n | staff | 23W024274 | famis | BB-G101 | no power | M9-M10 | work order noted it was completed,no access to the commercial building | staff | close
| n | resident | 23W024496 | famis | PH-L125 | clogged shower | M9-M10 | snaked removed clog drain has been having issues called again later in the night | resident | close
| n | resident | 23W024507 | famis | BB-K303 | no power | M9-M10 | reset the breaker | resident | close
| n | resident | 23W024498 | famis | FA-01P-A B | clogged toilet | M9-M10 | closet augered toilet unclogged | resident | close
| n | resident | 23W024393 | famis | FA-03R-BAT | bathroom light is out | M9-M10 | replaced lights over the vanity | resident | close
| n | staff | 23W024338 | famis | CDC1001 | assemble furniture | M9-M10 | assembled and left in the front desk area | staff | close
| y | staff | 23W024343 | famis | CDC1131 | dishwasher is not working | M9-M10 | top dish tray is broken- needs to be orders and replaced the unit itself is running | follow-up | open
| n | resident | 23W024385 | famis | BB-N303 | light out in the kitchen | M9-M10 | replaced 4 lights total | resident | close
| n | resident | 23W024124 | famis | BB-V310 | light out in the kitchen | M9-M10 | replaced hall light | resident | close
| n | resident | 23W024127 | famis | BB-A203 | light out in the kitchen | M9-M10 | replaced hall light | resident | close