## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2023-03-01 | n | resident | 23W024609 | famis | GM-M410 | light is out | M9-M10 | replaced light | resident | close
| n | resident | 23W024649 | famis | OB-032 | no power | M9-M10 | reset the breaker | resident | close
| n | resident | 23W024644 | famis | GMG205 | no power | M9-M10 | reset the breaker | resident | close
| n | resident | 23W024627 | famis | GM-L204 | sink is clogged | M9-M10 | unclogged sink drainline | resident | close
| y | staff | 23W024592 | famis | CDC104 | The floor area located underneath the windows by the playground side has water coming in and staining the floor. Please come inspect to see where and how the water in entering the building and how to resolve the issue. | M9-M10 | founs no source of water at the time of inspection | follow-up | open
| n | staff | 23W024589 | famis | CDC101 | There is a slow leak in room 101, ceiling tile broke | M9-M10 | found no leaks at the time we checked the room | staff | close
| y | staff | 23W024591 | famis | CDC127 | the window in the hall way across from Room 127 continuers to leak | M9-M10 | leak by the window frame when it rains | follow-up | open
| y | staff | 23W024590 | famis | CDC104 | The ceiling in room 104 has a leak and it looks about ready to give out. It is located on the far left side of the room, above the cabinets | M9-M10 | leak from the roof tile needs replacing | follow-up | close
| n | staff | 23W024594 | famis | CDC1204 | The middle right vent leaking water. | M9-M10 | found no leaks at the time we checked the room | staff | close
| y | staff | 23W024343 | famis | CDC1131 | dishwasher is broken | M9-M10 | top drawer is broken parts needs to be ordered or the unit replaced | follow-up | open