## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2023-03-04 | n | resident | 23W024907 | famis | PH-N116 | broken shower head | M10 | tightened shower head | resident | close
| n | resident | 23W024916 | famis | GM-I310 | toilet is not filling | M10 | replaced the handle and fill valve | resident | close
| n | resident | 23W024910 | famis | PH-J247 | clogged toilet | M10 | closet augered toilet | resident | close
| n | staff | 23W024921 | famis | LO-C118 | Underneath the final tank on the dishmachine a copper pipe has broken and water is pouring out. We shut the water valve off. | M10 | reattached the clamp on the drainlines | staff | close
| y | resident | 23W024913 | famis | AI-B338 | shower is clogging up | M10 | womens restroom,in use every attempt to unclog the shower | follow-up | open
| y | resident | 23W024915 | famis | BB-H206 | power is out in the kitchen | M10 | outlets in the dining area and over light is not working,the resident needs to remove their belongings to inspect the outlets | follow-up | open