## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2023-03-14 | N | RESIDENT | 23W025929 | FAMMIS | PL-38 | CLOGGED TOILET | M9 | CLEARED TOILET | RESIDENT | CLOSED
| N | RESIDENT | 23W025889 | FAMMIS | GME-207 | CLOGGED TOILET | M9 | CLEARED TOILET | RESIDENT | CLOSED
| N | STAFF |  | STAFF | OB-18 | OPEN UNIT FOR CUSTODIAL | M9 | SECURED TOILET | STAFF
| N | DINNING STAFF |  | STEAM PLANT | LO-DINNING | FIRE ALARM | M9 | BURNT FOOD IN KITCHEN/RESET FIRE PANEL | STAFF
| Y | M1 TROY |  | M1 TROY | PHP-3RD | LEAK IN CEILING | M9 | CHECK ON BUCKETS CATCHING WATER DUE TO RAIN | STAFF
| Y | STAFF |  | STAFF | PH O AND P | ELEVATOR NOT WORKING | M9 | ELEVATOR NOT WORKING | STAFF
| N | RA | 23W025951 | STASFF | PHE-112 | COMPUTER LAB DOOR NOT OPENING | M9 | CARD RREADER WORKING FINE/ADVISED RESIDENT TO CONTACT RSO TO REPROGRAM CARD | RESIDENT | CLOSED
| N | RESIDENT | 23WE025953 | RA | A1D-205 | NO POWER | M9 | RESET CIRCUIT BREAKER | RESIDENT | CLOSED
| N | RESIDENT | 23W035952 | RA | AIB-338 | SHOWER FLOORS ARE FLOODING | M9 | CLEARED SHOWER DRAIN | STAFF | CLOSED