## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2023-03-15 | n | resident | 23W026058 | famis | GM-A206 | shower is clogged | M10 | unclogged drainline removed hairbuildup | resident | close
| n | resident | 23W026062 | famis | FA-05A-BAT | toilet is not flushing | M10 | replaced the toilet handle | resident | close
| n | resident | 23W026066 | famis | GM-L305 | light is out | M10 | replaced hall ligh | resident | close
| n | resident | 23W026046 | famis | GM-M210 | faucet is loose | M10 | tightened faucet base | resident | close
| n | resident | 23W026004 | famis | GM-D408 | shower is clogged | M10 | unclogged drainline removed hairbuildup | resident | close
| n | staff | 23W026078 | famis | CDCS122 | leaking toilet | M10 | replaced vacuum breaker and toilet gasket and nut | staff | close
| n | resident | 23W026041 | famis | FA-07Q | door fell off the hinges | M10 | replaced screws secured door | resident | close
| n | resident | 23W026072 | famis | GM-M304 | clogged sink | M10 | unclogged drainline removed hairbuildup | resident | close
| n | staff | 23W026100 | famis | AVC | clogged toilet | M10 | closet augered toilet in womens restroom | staff | close
| y | staff | 23W026088 | famis | BBV-B101 | leak behind B building into the courtyard | M10 | shut off recir line and pump until it can be repaired | follow-up | open
| n | resident | 23W026093 | famis | BB-R206 | the fridge and living room have no power | M10 | removed the ice buildup from the freezer restricting airflow from the freezer into the fridge | resident | close