## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2023-03-16 | n | resident | 23W026181 | famis | GM-M606 | kitchen sink clogged | M9-M10 | reset disposal | resident | close
| n | resident | 23W026221 | famis | GM-F602 | no power in cd rooms | M9-M10 | reset breaker | resident | close
| n | resident | 23W026219 | famis | LO-D112 | toilet keeps flushing | M9-M10 | replaced sloan kit | resident | close
| n | resident | 23W026215 | famis | PH-L121 | FIRE ALARM | M9-M10 | found no cause for the alarm | staff | close
| n | resident | 23W026201 | famis | GM-F402 | clogged sink | M9-M10 | unclogged drainline popup | resident | close
| n | resident | 23W026167 | famis | GM-F602 | toilet is running | M9-M10 | replaced toilet flapper | resident | close
| n | resident | 23W026222 | famis | GM-F602 | no power in cd rooms | M9-M10 | reset the breaker unplugged students power strip and the breaker reset twice it happened today | resident | close
| n | resident | 23W026220 | famis | GM-F301 | clogged sink | M9-M10 | unclogged drainline popup | resident | close
| y | resident | 23W026177 | famis | GM-D406 | blind is broken in the bedroom | M9-M10 | resident was changing in the bedroom-return am | follow-up | open
| y | resident | 23W026203 | famis | GM-I103 | the fridge is freezing over | M9-M10 | foam air duct in the freezer is damaged seal also needs to be replaced no parts in the shelf of the shop | follow-up | open
| n | resident | 23W026185 | famis | BB-O202 | toilet paper holder | M9-M10 | secured holder | resident | close
| n | resident | 23W026214 | famis | GM-G203 | clogged toilet | M9-M10 | closet augered toilet | resident | close
| n | rso | n/a | radio | BBE-202 | no hot water | M9-M10 | hot water was working | resident | close
| y | staff | 23W025587 | famis | AVC1100 | repalced flickering light in the dining room | M9-M10 | event was happenning could not complete | follow-up | open