## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2023-03-17 | n | staff | 23W026389 | famis | GMD-109 | FIRE ALARM | M10 | found no source of the alarm when I inspected the unit | staff | close
| n | resident | 23W026383 | famis | PH-J248 | clogged shower | M10 | removed hair buildup in the line | resident | close
| n | resident | 23W025945 | famis | FA-02D | alarm on the door is beeping | M10 | door was fixed and not beeping when I checked the door | resident | close
| n | resident | 23W026308 | famis | FA-04J-KIT | leaking sink | M10 | tightened ptrap assembly | resident | close
| n | staff | 23W026249 | famis | CDC1131 | clogged sink | M10 | unclogged ptrap drainline | staff | close
| n | resident | 23W026336 | famis | BB-V310 | the fridge has no power | M10 | reset the breaker | resident | close
| n | staff | 23W026350 | famis | AI-A322 | leaking shower stall | M10 | tightened the handle wasn’t shut all the wayy | staff | close
| n | staff | 23W026347 | famis | AI-A234 | leaking shower stall | M10 | tightened the handle wasn’t shut all the wayy | staff | close
| n | staff | 23W026355 | famis | AI-B101 | leaking faucet | M10 | tightened faucet base | staff | close
| n | staff | 23W026358 | famis | AI-B233 | leaking shower stall | M10 | tightened the handle wasn’t shut all the wayy | staff | close
| n | staff | 23W026385 | famis | AI-E122 | leaking toilet stall | M10 | replaced downpipe gasket | staff | close
| n | staff | 23W026343 | famis | AI-A133 | clothesline wire fell | M10 | rehung the clothesline on the hooks | staff | close
| n | staff | 23W026387 | famis | PH-H202 | resident dropped belonging in trash chute | M10 | no location to return noted left in the trash chute room H202 | staff | close