## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2023-03-18 | n | staff | 23W026392 | famis | LO-F202 | The door of the F2 hall is not unlocking for residents. Once the door is open, the scanner is allowing for the door to be unlocked, but the second that the door is closed and back in the frame, it is not unlocking | M10 | door was working and opening consistently couldn’t not make it fail the lock is working as designed | staff | close
| n | resident | 23W026397 | famis | BB-Q102 | ktichen sink is clogged | M10 | snaked drainline | resident | close
| n | resident | 23W026396 | famis | GM-L503 | toilet is running | M10 | replaced flapper and handle | resident | close
| n | resident | 23W026395 | famis | GM-L503 | bathroom door lock is falling | M10 | secured and put handle back together | resident | close
| n | resident | 23W026393 | famis | BB-S102 | shower head is leaking | M10 | replaced the showerhead | resident | close
| y | resident | 23W026318 | famis | BB-H303 | hot water issue in the shower | M10 | cartridge needs to be replaced hot water is working | follow-up | open
| n | resident | 23W026316 | famis | BB-E202 | no enough hot water | M10 | hot water is working | resident | close
| n | staff | 23W026405 | famis | AI-B322 | clogged shower | M10 | snaked drainline | resident | close