## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2023-03-20 | N |  |  | LEAD CHRIS | BBG-208 | INSTALL TOILET | M9 | INSTALLED TOILET | RESIDENT
| N | RESIDENT |  | CAMP RSO | FK-STUDY RM | UNLOCK STUDY ROOM | M9 | UNLOCKED ROOM | RESIDENT
| N | RESIDENT |  | LO RSO | LOD-1 | HALL DOOR NOT LOCKING | M9 | FREED UP LATCH FROM PANIC BAR TO ENGAGE | RESIDENT
| N | RESIDENT |  | CAMP RSO | BBH-303 | NO HOT WATER | M9 | PLUMBER ISTALLED BLEEDER VALVE | RESIDENT
| N | RESIDENT | 23W026537 | FAMMIS | BBV-106 | STOVE ARCKING | M9 | STOVE WORKING PROPERLY | RESIDENT | CLOSED
| N | RESIDENT | 23W026558 | FAMMIS | BBU-101 | NO POWER | M9 | RESET CIRCUIT BREAKER | RESIDENT | CLOSED