## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2023-03-26 | N | ARD |  | STEAM PLANT | LO-BASEMENT | ARD REPORTS ALARM GOING OFF IN BASEMENT | M9 | CHECKED BASEMENT AND BOILER ROOM NO ALRMS WERE FOUND GOING OFF | STAFF
| N | RESIDENT | 23W027078 | FAMMIS | FK-2P | CLOGGED TOILET | M9 | CLEARED TOILET | RESIDENT | CLOSED
| N | RESIDENT | 23W027084 | FAMMIS | GMG-301 | CLOGGED TUB DRAIN | M9 | CLEARED DRAIN | DOOR TAG | CLOSED
| N | RESIDENT | 23W027081 | FAMMIS | GMF-210 | DISPOSAL NOT WORKING | M9 | RESET DISPOSAL | DOOR TAG | CLOSED
| N | RESIDENT | 23W027083 | FAMMIS | GMM-208 | CLOGGED TUB DRAIN | M9 | CLEARED TUB DRAIN | DOOR TAG | CLOSED
| N | RESIDENT | 23W027057 | FAMMIS | FK-14 | LIGHTS BY BLDG 14 AND LAUNDRY ROOM ARE OUT | M9 | WALKED PROPERTY ALL LIGHTS WERE ON | STAFF | CLOSED