## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
4-1-23- | n | resident | 23W027578 | famis | BB-T303 | disposal is not working | M10 | reset and unclogged disposal | resident | close
| n | staff | 23W027592 | famis | BB-A100 | hose bib by the dog house is leaking | M10 | replaced hosebib | staff | close
| n | resident | 23W027579 | famis | BB-A313 | toilet is not flushing | M10 | replaced fill valve | resident | close
| n | resident | 23W027584 | famis | BB-A312 | no water in the unit | M10 | turned water valves back on at the doghouse they were shutoff for some reason | resident | close
| n | resident | 23W027583 | famis | FA-04J-KIT | disposal is not working | M10 | replaced disposal | resident | close
| n | resident | 23W027593 | famis | FA-04J-KIT | kitchen faucet is leaking | M10 | replaced faucet and supply lines | resident | close
| n | resident | 23W027581 | famis | FA-05K-KIT | dishwasher is leaking | M10 | unclogged air gap | resident | close
| n | resident | 23W027590 | famis | FA-05K-KIT | leak under the kitchen sink | M10 | replaced compressionr nuts and gaskets | resident | close
| n | resident | 23W027585 | famis | GM-I502 | toilet is not flushing | M10 | augered toilet | resident | close
| n | resident | 23W027574 | famis | GM-E207 | toilet is not flushing | M10 | replaced toilet handle | resident | close
| n | staff | 23W027591 | famis | LO-B100 | resident dropped belonging down trash chute | M10 | looked found nothing in the chute | staff | close