## Sheet1
extended shift report
Date | follow-up | requested by: | Work Order # | Contacted by: | Location: | Problem: | responded by: | comments: | Contact/customer you communicated resolution to | Open or Closed
2023-04-04 | n | resident | 23W027910 | famis | BB-S310 | toilet is damaged and not working | M9-M10 | the toilet was working,the extshift custodial staff cleaned the calcium and lime buildup in the toilet and the shower | resident | close
| n | resident | 23W027899 | famis | FA-13H-KIT | disposal is clogged | M9-M10 | reset and unjammed disposal | resident | close
| n | resident | 23W027911 | famis | FA-13H-KIT | kitchen sink is leaking | M9-M10 | repaired ptrap assembly | resident | close
| n | staff | 23W025587 | famis | AVC-1100 | globe light is out in the dining area | M9-M10 | all globes are lit and working | staff | close
| n | resident | 23W027872 | famis | GM-F501 | ab sink is clogged | M9-M10 | unclogged drainline | resident | close
| n | resident | 23W027914 | famis | GM-F501 | toilet is running | M9-M10 | adjusted fill valve and flapper | resident | close
| n | resident | 23W027902 | famis | GM-F505 | no power cd side | M9-M10 | reset breaker | resident | close
| y | resident | 23W027884 | famis | PH-M340 | lounge door is not opening | M9-M10 | core is sticking door is not opening and unlocking | follow-up | open
| y | resident | 23W027908 | famis | GM-B104 | The shower is clogged. The toilet handle does not work properly allowing for water to leak straight into the toilet. These issues are in B104 AB side bathroom. | M9-M10 | resident service in the AM they were not available | follow-up | open
| n | resident | 23W027900 | famis | FA-16F-KIT | dishwasher flooded the kitchen | M9-M10 | unclogged dishwasher drainline | resident | close
| n | resident | 23W027913 | famis | FA-16F-KIT | disposal is clogged | M9-M10 | reset and unjammed disposal | resident | close