## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2023-04-10 | N | RESIDENT | 23W028508 | FAMMIS | GMI-105 | NO HOT WATER IN SHOWER | M9 | AJUSTED TEMPERATURE STOP ON VALVE BODY | RESIDENT | CLOSED
| N | RESIDENT | 23W028570 | FAMMIS | FK-14B | TOILET KEEPS RUNNING/SINK HAS WEIRD SMELL | M9 | REPLACED TOILET FLAPPER/CLEARED SINK DRAIN | RESIDENT | CLOSED
| N | RESIDENT | 23W028594 | FAMMIS | GMM-610 | CLOGGED TOILET | M9 | CLEARED TOILET | RESIDENT | CLOSED
| N | RESIDENT | 23W028604 | FAMMIS | GMM-610 | KITCHEN FAUCET LEAKS | M9 | SECURED FAUCET | RESIDENT | CLOSED
| N | STAFF | 23W028490 | FAMMIS | CDC-121 | LEAK COMIN FROM CEILING | M9 | CLEARED CONDENSATE DRAIN FOR AC | STAFF | CLOSED
| Y | STAFF |  | STEAM PLANT | LO RSO | FIRE PANAEL KEEPS GOING OFF | M9 | TROUBLE ALARM READING BOILER ROOM B05 SMOKE DETECTOR M9-005 DISABLE ALARM | PLEASE FOLLOW UP | FOLLOW UP